## Slide 1: The US Electric Grid
Notes: http://www.geni.org/globalenergy/library/national_energy_grid/united-states-of-america/americannationalelectricitygrid.shtml

## Slide 2: How does the grid work?
Notes: http://www.pdenergy.com/images/chart_systemdemand.jpg

## Slide 3: Trajectory of the Grid
Pearl generating station in 1882, image from Arnold, et al.
Movement from centralized to distributed generation (potentially) and from manual to automatic operation with two-way communication.
Notes: Pearl: Arnold, G. W. (n.d.). Challenges and Opportunities in Smart Grid: A Position Article. Proceedings of the IEEE, 99(6), 922–927. doi:10.1109/JPROC.2011.2125930
Microgrid picture: http://www.cleanskies.org/infographics/microgrid/

## Slide 4: What problems are we addressing?
Reliability
Consumer choice/participation
Integration of renewables
Adaptation to unusual power requirements/locations (electric cars, remote locations, developing world)
Security/safety – eg, military bases and hospitals.
Notes: Source: Arnold, G. W. (n.d.). Challenges and Opportunities in Smart Grid: A Position Article. Proceedings of the IEEE, 99(6), 922–927. doi:10.1109/JPROC.2011.2125930

## Slide 5: Reliability issues
August 14, 2003—Blackout in the Northeast for nearly 2 days
New York City during the blackout
Notes: Article: http://science.time.com/2013/08/13/ten-years-after-the-great-blackout-the-grid-is-stronger-but-vulnerable-to-extreme-weather/
Sagging powerlines – heat
Tree near cleveland touched and knocked out power
Power lost by ~50 million people
Not fully restored for 2 days
Economic cost ~$10 billion
Lives lost: 10
Now, $4.5 billion dollars later
Major transmission lines caused power losses only twice in 2012, after averaging nine times a year from 2008 to 2011. (http://science.time.com/2013/08/13/ten-years-after-the-great-blackout-the-grid-is-stronger-but-vulnerable-to-extreme-weather/)
“70% of transmission lines and transformers are at least 25 years old”
“Burying overhead utility wires can cost between $500,000 to $2 million per mile, and those underground wires may end up even more vulnerable to storm-surge flooding close to the coast. The reality is that it’s often cheaper to replace distributed transmission and distribution assets after they’ve been knocked over than it is to harden them against weather.”

## Slide 6: Factors affecting reliability
Errant weather (trees!)
Increased load fluctuation
Aging infrastructure
Distribution of generation vs load
Distributed generation is a proposed solution.

## Slide 7: Integration of Renewable,Variable Power
Integrating intermittent renewables into our power portfolio puts stress on the electric grid.*
***North American Electric Reliability Corporation, Accommodating High Levels of Variable Generation (Princeton, NJ, 2009).
**GE Energy Consulting, “Intermittency Analysis Project: Appendix B, Impact of Intermittent Generation on Operation of California Power Grid” (Sacramento, CA: California Energy Commission,
2007).
Sunny Day
Cloudy Day
Variation in PV Plant output with cloud cover.***
*“MIT Study on the Future of the Electric Grid”
Daily Variations in Electrical Load vs Wind Generation (January 2008, California)**
Load
Wind Generation
Notes: Day-ahead schedules: “At this timescale, wind forecasts have an average error of 15%–30% mean absolute error of production”

## Slide 8: Integration of Renewables
The potential exists to operate variable renewables plants as microgrids, smoothing the power output.

## Slide 9: Microgrid Definition
U.S. Department of Energy Microgrid Exchange Group:
“A microgrid is a group of interconnected loads and distributed energy resources within clearly defined electrical boundaries that acts as a single controllable entity with respect to the grid. A microgrid can connect and disconnect from the grid to enable it to operate in both grid-connected or island-mode.”
Notes: “Microgrids are coordinated energy generation and electrical distribution systems capable of operating independently from the macrogrid (main utility grid). They include multiple distributed energy generation resources and multiple loads and have controller capabilities to dispatch generation, control loads and provide seamless connection/disconnection with the macrogrid. Microgrids typically include two critical pieces of equipment—a switch to disconnect and reconnect to the macrogrid when needed and a controller that dispatches generation, load and microgrid support functions. (Anderson, 2011, “Broad Overview of Energy Efficiency….” )

## Slide 10: Structure of a Microgrid
Notes: Katiraei, F., Iravani, R., Hatziargyriou, N., & Dimeas, A. (n.d.). Microgrids management. IEEE Power and Energy Magazine, 6(3), 54–65. doi:10.1109/MPE.2008.918702

## Slide 11: Types of Microgrids
From the Microgrids program at LBNL:
Customer microgrids – independently operated, behaving as an individual consumer would.
Utility/community microgrids—operates by utility rules, part of existing utility infrastructure
Virtual microgrids—geographically distant, but coordinated in interacting with grid
Remote microgrids
Notes: http://building-microgrid.lbl.gov/types-microgrids

## Slide 12: Requirements for microgrid implementation
From “Energy Management and Operational Planning of a Microgrid With a PV-Based Active Generator for Smart Grid Applications”
“Long-term energy management includes the following:
1) hourly “Renewable Energy Resource (RES) production forecast,” including the time dependence of the prime source, environmental impacts, and cost of generation;
2) management of controllable loads that may be disconnected/shed according to the supervision requirement;
3) provision of an appropriate level of power reserve ca- pacity according to the electricity market and the load demand forecast;
4) maintenance intervals.
Short-term power balancing includes the following:
1) rms voltage regulation and primary frequency control;
2) real-time power dispatching among internal sources of a DER (PV generator, batteries, and ultracapacitors for our example in Fig. 1). “
Notes: Kanchev, H., Lu, D., Colas, F., Lazarov, V., & Francois, B. (n.d.). Energy Management and Operational Planning of a Microgrid With a PV-Based Active Generator for Smart Grid Applications. IEEE Transactions on Industrial Electronics, 58(10), 4583–4592. doi:10.1109/TIE.2011.2119451

## Slide 13: Primary Challenges
Disconnection/reconnection with grid
Frequency regulation in island mode
Power sources?
Economics of distributed generation vs connecting to existing grid
Efficiency of generation/use?
Controller technology is of paramount concern
Notes: Anderson, 2011

## Slide 14: Current Federally Supported Projects
Notes: OE’s microgrid program goals are to develop commercial scale microgrid systems (capacity of less than 10 MW) capable of reducing outage time of required loads by more than 98% at a cost comparable to non-integrated baseline solutions while reducing emissions by more than 20% and improving system energy efficiencies by more than 20% by 2020.
Image and info: http://energy.gov/oe/services/technology-development/smart-grid/role-microgrids-helping-advance-nation-s-energy-syst-0

## Slide 15: Microgrids in the US by Type
Notes: http://theenergycollective.com/stephenlacey/413716/heres-where-solar-storage-and-microgrids-are-starting-take-hold-us
More than 90% based on ff technology (http://www.greentechmedia.com/articles/read/US-Microgrid-Capacity-Will-Exceed-1.8-GW-by-2018)

## Slide 16: Powerplants in US
Notes: http://www.eia.gov/state/maps.cfm?v=Electricity
Total generating capacity summer 2011: 1,000GW

## Slide 17: Microgrids by Region
Notes: http://www.greentechmedia.com/research/report/north-american-microgrids-2014
Report brochure available by request—see website

## Slide 18: Existing/Planned Microgrids
Notes: http://www.greentechmedia.com/research/report/north-american-microgrids-2014
Report brochure available by request—see website

## Slide 19: Microgrid Capacity by State
Notes: http://www.greentechmedia.com/research/report/north-american-microgrids-2014
Report brochure available by request—see website

## Slide 20: Distribution in US
GreenTechMedia Study: 700 megawatts of microgrid capacity added by 2017
Between 2014 and 2017, the U.S. market for microgrids will grow from $133 million to $671 million, eventually hitting $3 billion in 2018.
Notes: Bullet 1: http://www.greentechmedia.com/research/report/north-american-microgrids-2014
Report brochure available by request—see website
Bullet 2:
http://energy.gov/oe/services/technology-development/smart-grid/role-microgrids-helping-advance-nation-s-energy-syst-0

## Slide 21: Industry Efforts
Notes: Nest is working with utilities
http://www.fastcodesign.com/1672408/next-for-nest-building-out-the-smart-grid-one-home-at-a-time