## Slide 1: Advanced Research Projects Agency – Energy: Accelerating U.S. Energy Innovation
Dr. Lakshana Huddar, Fellow
Harvard Energy Journal Club
December 1st , 2017

## Slide 2: Introductions
Ph.D. Nuclear Engineering
University of California, Berkeley
Interests at ARPA-E
Energy Storage
Nuclear Fission/Fusion
Ocean Carbon Sequestration

## Slide 3: The Fluoride salt cooled High temperature Reactors (FHR) is an Advanced Reactor
Design features:
Fluoride salt coolant
Pebble fuel
Passive safety systems for cooling during accident scenarios
Photo credit: Brian Kelleher
Advantages over current reactors:
Ability to cool the core even when there is a loss of power
Online refueling
Operates at atmospheric pressure

## Slide 4: Coolant enters the pebble-bed reactor from the bottom
Fuel (solid phase)
Coolant (liquid phase)
The coolant is flibe, composed of LiF and BeF2
Heat generation from nuclear reactions in the pebble fuel
Need to accurately model the temperature distribution in the core
Notes: Advanced nuclear reactor design with several proven technologies such as flibe.
Describe flibe a bit
Flow path – two primary modes of operation: normal and natural circulation
Thus, it’s important to understand heat transfer within the core itself and because it’s a pebble bed it can be modeled using porous media equations

## Slide 5: Porous media governing energy equations for PB-FHRs
Coolant (fluid) phase
Fuel (solid) phase
The literature does not cover the FHR operational regime.
So how can we determine the interfacial heat transfer coefficient?
Time-dependent + advection = diffusion + viscous dissipation +
Time-dependent = diffusion + heat generation +
Notes: Conservation equations for PB-FHRs
Viscous dissipation
Thermal dispersion
Darcy is not applicable to this core (only for low Re number flows), check ReK
Viscous dissipation, permeability: Carman-Kozeny and Darcy’s Law
a is the specific surface area (surface area per unit volume)

## Slide 6
Notes: Max distortion, 16%

## Slide 7: Using Wakao correlation for predictions (for water and air)
Experimental values: 26-75
Experimental values: 49-412
PB-FHR |  | 
 | Natural circulation | Forced circulation
Prandtl | 15 | 15
Reynolds | 19 | 955

## Slide 8: Experimental Set-Up

## Slide 9: Test Section Instrumentation

## Slide 10: 0.1Hz (10s period)
Exit fluid
Bottom pebble
Middle pebble
Top pebble
Entrance fluid

## Slide 11: ~90% of the collected data was within 20% of literature

## Slide 12: Background and Introduction
ARPA-E: Accelerating U.S. Energy Innovation

## Slide 13: ARPA-E Program Development Staff
Acting
Director
Assoc. Director
for Technology
15 Program Directors
6 Fellows

## Slide 14: ARPA-E Commercialization Staff
Acting Dept. Director
10 Tech-to-Market Advisors

## Slide 15: History of ARPA-E
2007
Rising Above
the Gathering Storm
Published
America COMPETES
Act Signed
2009
American Recovery & Reinvestment Act Signed
2011
2012
2013
2014
2010
1
37
7
12
16
20
23
Programs
To Date
Awards Announced
2015
32
America COMPETES
Reauthorization Signed
$275 Million
(FY2012)
$280 Million
(FY2015)
500+
2016
39
$280M
(FY14)
In 2007, The National Academies recommended Congress establish an Advanced Research Projects Agency within the U.S. Department of Energy
2017
Coming
soon
$400M
(Recovery Act)
$180M
(FY11)
$251M
(FY13)
$291M
(FY16)
$280M
(FY15)
$275M
(FY12)
$280M
(FY14)
$306M
(FY17)
Notes: Congress was asked to "identify the most urgent challenges the U.S. faces in maintaining leadership in key areas of science and technology,"
2007 – US advantages in Science and technology were beginning to erode. Warning.
Updated to reflect 2015 numbers
Budget (Million) Data Source:
FY2009: $15,000 http://energy.gov/sites/prod/files/FY11Orgsum.pdf ARRA $388,856 http://energy.gov/sites/prod/files/FY11Orgsum.pdf (Note: rounded to $400 million in all public documents, did so here to maintain consistency.)
FY2010 $0 http://energy.gov/sites/prod/files/FY11Orgsum.pdf
FY2011 $179,640 http://energy.gov/sites/prod/files/FY13Volume4.pdf (p. 401)
FY2012 $275,000 http://energy.gov/sites/prod/files/2013/04/f0/orgsum.pdf
FY2013 $250,636 http://energy.gov/sites/prod/files/2014/04/f14/FY%202015%20DOE%20Budget%20by%20Organization.pdf
FY2014 $280,000 http://energy.gov/sites/prod/files/2015/01/f19/FY2016BudgetSummaryTableByOrg_0.pdf
F2015 $279,982 http://energy.gov/sites/prod/files/2015/01/f19/FY2016BudgetSummaryTableByOrg_0.pdf
FY2016 (Requested) 325,000 http://energy.gov/sites/prod/files/2015/01/f19/FY2016BudgetSummaryTableByOrg_0.pdf

## Slide 16: ARPA-E impact indicators
Since 2009 ARPA-E has provided $1.5 billion in R&D funding
to more than 580 projects.
As of February 2017
208 patents issued by U.S. Patent and Trademark Office
68 projects have partnered with other government agencies to further development
56 projects have formed new companies
74 projects have attracted more than $1.8 billion in private-sector follow-on funding
1,328 peer-reviewed journal articles from ARPA-E projects

## Slide 17: ARPA-E mission
Mission: To overcome long-term and high-risk technological barriers in the development of energy technologies
Means:
  Identify and promote revolutionary advances in fundamental and applied sciences
  Translate scientific discoveries and cutting-edge inventions into technological innovations
  Accelerate transformational technological advances in areas that industry by itself is not likely to undertake because of technical and financial uncertainty

## Slide 18: ARPA-E mission

## Slide 19: Built on DARPA foundation, but with key differences…
Notes: Direct milestone negotiations w/ awardees

## Slide 20: Programs and Projects
ARPA-E: Accelerating U.S. Energy Innovation

## Slide 21: Technology development opportunities at ARPA-E
Chart: Total ARPA-E Investment (Million $)
| OPEN 2009 | OPEN 2012 | OPEN 2015
Investment | 175788863 | 174030032 | 119938135
Pad
Projects | 41 | 65 | 40
Focused Programs
Developed by PDs & Fellows
Aimed at a specific energy challenge
OPEN Program
Spans many energy technologies
Historically announced every 3 years
IDEAS Program
Spans many energy technologies
Seedling projects funded up to $500k for 1 year
As of August 2017

## Slide 22: Technology acceleration model
FOCUSED PROGRAM DEVELOPMENT CYCLE
(~4 YEARS)

## Slide 23: Ongoing Technology Development Efforts
ARPA-E: Accelerating U.S. Energy Innovation

## Slide 24: NEW ARPA-E Opportunities… Dec 2017
2016/2017 Program Development | Current Status
FOA: Funding Opportunity Announcements: | 
MEITNER – Modeling-Enhanced Innovations Trailblazing Nuclear Energy Reinvigoration | Concept Papers Submission and review
MARINER – Macro Algae Research Inspiring Novel Energy Resources | Projects Announced
SENSOR – Saving Energy Nationwide in Structures with Occupancy Recognition | 
ROOTS – Rhizosphere Observations Optimizing Terrestrial Sequestration | Projects underway
METALS – Modern Electro/Thermochemical Advances in Light Metals Systems | 
IDEAS - Innovative Development Energy Related Applied Science | Seedling Solicitations
Notes: MEITNER: technologies that enable low-lost designs for safe advanced nuclear reactors
MARINER: macroalgae for energy, transportation. Without competing with food crops for land and water
SENSOR: building sensors for increased energy efficiency - heating, lighting and HVAC. Human presence sensors, automatic sensors etc.

## Slide 25: Programs to discuss
ROOTS
METALS

## Slide 26
ROOTS RHIZOSPHERE OBSERVATIONS OPTIMIZING TERRESTRIAL
SEQUESTRATION
Approach
Develop novel, non-destructive, field deployable technologies to:
Measure root functional properties
Measure soil functional properties
Advance predictive and extensible models that accelerate cultivar selection and development
Goal
Mitigate ~10% of total U.S. greenhouse gas emissions (GHG) annually while also improving the climate resiliency of U.S. agricultural production by achieving:
50% increase in carbon deposition depth and accumulation
50% decrease in fertilizer N2O emissions
25% increase in water productivity
Notes: A small percent of the CO2 absorbed by plants enters the soil carbon pool

## Slide 27: ROOTS: project examples
An Integrated Phenotyping Platform for Deeper Roots
Integrated Imaging and Modeling Toolbox for Accelerated Development of Root-focused Crops at Field Scales

## Slide 28
METALS Modern Electro/Thermochemical Advances in Light Metal Systems
Approach
Novel, low-cost processing of aluminum, magnesium, and titanium
Automation of light metal scrap sorting techniques that can be integrated with a high efficiency systems
Goal
Cost-effective and energy-efficient manufacturing techniques to process and recycle metals for lightweight vehicles and aircraft
Potential Impact
Security
Light-weighting vehicles to improve fuel efficiency could reduce U.S. dependence on foreign fossil fuel resources.
Environment
Utilizing light metals to manufacture vehicles and aircraft decreases their weight, reducing overall fuel consumption and CO2 emissions.
Economy
Reducing light metal processing costs compared to steel enables the development of lightweight vehicles and aircraft.

## Slide 29: Metals: project examples
Carbothermal Reduction Process for Producing Magnesium Metal using a Hybrid Solar/Electric Reactor
Low-Cost High Throughput In-Line X-Ray Fluorescence Scrap Metal Sorter
Goal
Develop a high throughput, fully automated sorter for light metal alloys.
Challenges
Develop high intensity, linear X-ray tube for parallel elemental composition measurement @ 1/10 s
Develop low cost X-ray optics and silicon detector arrays to continuously resolve real time XRF signals with sufficient sensitivity to distinguish different alloy compositions
Develop intelligent software to correlate the XRF data with optical images to identify the unique elemental composition signature for each piece of scrap.
Goal
Carbothermal magnesium production reactor with dramatically improved energy efficiency compared to conventional technologies.
Challenges
Generation of hot magnesium vapor from magnesium oxide and carbon with the collection and recovery device in tandem.
Condensation magnesium while preventing re-oxidation.
Transition from batch to continuous processes.
Notes: In a double-blind test, the proof-of-concept system has demonstrated a better than 99% sorting accuracy, including the ability to separate 5000 and 6000 series aluminum alloys.
UHV has built a pilot sorting line with a potential throughput of 40 million lbs/year at an industrial partner’s (OmniSource) scrap processing yard
UCB – solar-powered Mg production reactor. Solar day, electricity at night

## Slide 30: Career Opportunities
ARPA-E: Accelerating U.S. Energy Innovation

## Slide 31: Why work at ARPA-E?
CONTRIBUTE TO A BETTER ENERGY FUTURE
    Work towards creating a more efficient, more secure energy future
    If you are interested in applying or learning more, please email arpa-e-jobs@hq.doe.gov.
WORK IN DIVERSE TECH AREAS
    At ARPA-E you’ll have the opportunity to work with a diversity of energy issues and explore new fields
  COLLABORATE WITH OTHER EXPERTS
    Work with other experts from many different disciplines who are devoted to creating a better energy future
  JOIN OUR INNOVATIVE STARTUP-LIKE CULTURE
    ARPA-E is a fast-paced, action-oriented Agency

## Slide 32: ARPA-E builds experience to position you for success anywhere
Academia
Public/NGO
Large Business
Start-up/VC

## Slide 33: Fellows are early-career innovators
PROJECT SUPPORT
AGENCY STRATEGY AND VISIONING
PROGRAM DEVELOPMENT
Notes: Notes for presenter:
Two years
Ph.D & U.S. Citizen* (or actively seeking)

## Slide 34: ARPA-E recruitment opportunities: Fellows
Roles, Responsibilities, and Attributes
Program Director Support
Help develop future programs through technical analysis, discussions, debate and workshops
Support existing programs through technical and economic analyses and on-site project visits
Organizational Support
Contribute to the strategic direction and vision of the Agency
Review proposals and funding opportunities
Independent Energy Technology Development
Perform primary technical and economic analyses to identify high-impact technologies for the Agency
Learn from and brainstorm with experts in a variety of fields
Publish original research papers and reviews
Qualifications
Ph.D. in science or engineering; strong analytical, research, and communication skills; ability to initiate independent projects; passion to change the world through energy technology research; U.S. citizenship

## Slide 35: Fellows Backgrounds
Fellows Have Diverse Backgrounds
Hybrid metal halide perovskites
Novel electrocatalysts for artificial photosynthesis
Antihydrogen trapping
Genetically-encodable neural recording devices
Wireless sensing for civil infrastructure systems
Passive & heat-activated pumps and compressors
Molecular vibrations in primary electron transport

## Slide 36
2018 ARPA-E Energy Innovation Summit:
Student Program
March 13 – 15, 2018
Washington, DC
Attend the premier event showcasing America’s future energy technologies
Network with corporate recruiters
Enjoy complimentary registration &
student-focused energy programming
Apply by January 2, 2018 at
www.arpae-summit.com/Students

## Slide 37: Student Program
Why Apply?
Join top graduate-level students from across the nation
Enjoy complimentary Summit registration & student-specific programming
Network with corporate recruiters
Learn about new energy initiatives
Application for 2018 is open through January 2
Who are the Students?
Students have a mix of technical, scientific, business, and policy backgrounds from a variety of institutions
Energy leaders on campus
Students planning for a professional career in energy

## Slide 38: Join our team
https://arpa-e.energy.gov
For more information, contact me:
lakshana.huddar@hq.doe.gov

## Slide 39
Thank you!